## Slide 1
Ghazi Hajiri1 ghazi.hajiri@univ-lorraine.fr
1 Université de Lorraine, GREEN, F-54000 Nancy, France
Jean Lévêque1 jean.leveque@univ-lorraine.fr
Design and Testing of a New Cooling System using Solid Nitrogen for Pulsed Field Magnetization and Characterization of HTS Bulks
Kévin Berger1 kevin.berger@univ-lorraine.fr

## Slide 2: Nodal method
SN2 bath center
Copper heat exchanger « CuC1 »
Cooling power
Cooling power

## Slide 3: Heat capacity formulation
The heat diffusion equation :
The thermal conductivity k :
The specific enthalpy H :
The specific heat capacity Cp :
The Dirac pulse :
Solid region
Liquid region
Phase change region
N2

## Slide 4: Cooling systems
F-70 Indoor Water-Cooled Compressor
HiCube 300 Classic, DN 100 CF-F
Temperature sensor output
Cryo Diffusion
Pressure sensor
Open cryostat view
CH-110 77K Cryocooler

## Slide 5: Results
Reality
3D simulation
T (K)
Cooling temperatures e, 77 K to 25 K is about 45 h for 10 liter of liquid nitrogen.
Phase change at a temperature of 63.1 K and a constant pressure of 0.1253 bar.

## Slide 6: Conclusion
The analytical model based on a nodal method coupled with a heat capacity formulation and the 3D simulation in COMSOL were validated with experimental measurements.
Pulsed field magnetization tests and characterization of HTS bulbs are planned soon.

## Slide 7: Perpetive PFM study
Cooling capacity
Conduction heat transfer system
Resistive coil
Nitrogen
Heating power of 10 W
T(K)
Cut line
Coil heating power (W)
Time (s)

## Slide 8: Perpetive PFM study
A formulation
H formulation
Heat formulation
Symmetry axis
Symmetry axis
Coil
HTS
Heat exchanger
Symmetry axis
With heat capacity formulation
Adiabatic

## Slide 9: Perpetive PFM study
With heat capacity formulation
With heat capacity formulation
Adiabatic
Uc =500 V
Adiabatic
J (A/m2)
Uc =500 V
Uc =2000 V
Uc =2000 V
J (A/m2)

## Slide 10: Perpetive PFM study

## Slide 11
Ghazi Hajiri,  (+33) (0)7 68 81 72 08  e-mail: ghazi.hajiri@univ.lorraine.fr
Thank you for your attention